02.1a	 Fire safety risk assessment form Little Montessorians Ltd.

| Risk Area |  | Carried out by |  | Date |
| --- | --- | --- | --- | --- |
| Fire Hazards: Examples: Ignition; fuel; oxygen | Who is at risk People on premises and those most vulnerable | Level of risk of fire occurring and the risk to people | Control measure Remove and reduce hazards that may cause fire; Remove and reduce risks to people | Review Record, plan, inform, instruct, train and review |

Before completing this form, please refer to the five steps in procedure 02.01 Fire safety